|  | Lab/Shop Maintenance Task Excludes lab/shop tasks for initial personnel training & registrations for new hazards | Timing |
| --- | --- | --- |
| General Safety | Schedule a Lab/Shop Safety Inspection, check first aid & spill kits, check personal protective equipment quality/expiration, and update Hallway Door Sign if needed | Twice each year: _______& ________ |
|  | Annual Lab/Shop Hazard Assessment Updates in RSS App | Next Due: ________ |
|  | Lab/Shop Safety Awareness Training Refresher (at least every 3 years) | Next Due: ________ |
|  | First-aid, CPR, and AED training refresher (at least every 2 years) (delete row if N/A) | Next Due: ________ |
|  | Annual check to remove universal waste and metal recycling | Next Due: ________ |
|  | Fire extinguisher, AED, safety shower, and eyewash testing | Monthly by EHS |
|  | Each month, remove hazardous chemical waste with start dates over 9 months old | Monthly on: ______ |
|  | Each month, remove oily/solvent rag waste (delete row if N/A) | Monthly on: ______ |
|  | Annual hands-on fire extinguisher training with EHS (delete row if N/A) | Next Due: ________ |
|  | Asbestos training (delete row if N/A) | Next Due: ________ |
|  | Annual respirator fit testing and/or hearing protection testing (delete row if N/A) | Next Due: ________ |
| Chemical Safety | Chemical Inventory Reconciliation and Certification in RSS App (at least annual) | Next Due: ________ |
|  | Chemical Standard Operating Procedures Annual Refresher in RSS App | Next Due: ________ |
|  | Replacement of filters in ductless fume hoods, fume extractors, equipment-specific exhaust systems, and paint booths. | Next Due: ________ |
|  | Annual EHS Certifications for Chemical Fume Hoods, Paint Booths, Slot Hoods, Exhaust Snorkels, Fume Extractors, Dust Collection Systems, and Downdraft Tables | MLML- Fall CoS + CoE- Summer Others- Spring |
|  | Annual Glove Box Audit (delete row if N/A) | March each year |
|  | Annual Controlled Substance + Precursor Audit (delete row if N/A) | March each year |
|  | note any reactive testing requirements here -- for example testing peroxide formers at least every 6 months-- delete row if N/A |  |
| Radiation Safety | add compliance items as applicable -- delete row if N/A consider adding to equipment safety section if only X-ray devices |  |

|  | Lab/Shop Maintenance Task Excludes lab/shop tasks for initial personnel training & registrations for new hazards | Timing |
| --- | --- | --- |
| Equipment Safety | Risk Level 3-5 Equipment Standard Operating Procedures Annual Refreshers in RSS App | Next Due: ________ |
|  | Check that critical equipment is on backup power. Confirm that your lab/shop is up-to-date on college backup power lists (at least annual) | Next Due: ________ |
|  | Test equipment emergency shut off and warning signal function (at least annual) | Next Due: ________ |
|  | Freezer defrost and decontamination (at least annual) | Next Due: ________ |
|  | Annual Hoist/Crane Inspection | Next Due: ________ |
|  | Preventative Maintenance for Powered Industrial Vehicles (such as forklifts, electric carts, aerial lifts, trucks + trailers, and passenger vans) | Next Due: ________ |
|  | Defensive Driver Training Refresher (at least every 4 years) | Next Due: ________ |
|  | Forklift Certification Refresher (at least every 3 years) | Next Due: ________ |
|  | Check physical integrity and maintenance of ladders, scaffolds, toe boards, elevated platforms, guardrails, and hatches (at least annual) | Next Due: ________ |
|  | Check for physical integrity, appropriateness, and maintenance for ergonomic aids (at least annual) | Next Due: ________ |
|  | Kitchen Range Hoods Professional Cleaning (at least annual) | Next Due: ________ |
|  | Grease Trap and/or Sink Trap Cleaning | Next Due: ________ |
|  | Surge protector replacement (optional every 3-5 years) | Next Due: ________ |
|  | delete or add rows as applicable |  |
| Laser Safety | Annual Laser Safety Facility Inspection | Nov each year |
|  | Annual Authorization Update and Standard Operating Procedure Refreshers in RSS App | Nov each year |
|  | Laser Safety Awareness Training Refresher (at least every 3 years) | Next Due: ________ |
| Radiation Safety | add compliance items as applicable -- delete row if N/A consider adding to chemical section if you use radioactive chemicals NOT equipment |  |
| Electrical Safety | add compliance items as applicable -- this is especially important for those that work with experimentally modified batteries, high voltage, or procedures that require “Lock Out Tag Out” training-- delete row if N/A |  |

|  | Lab/Shop Maintenance Task Excludes lab/shop tasks for initial personnel training & registrations for new hazards | Timing |
| --- | --- | --- |
| Biosafety | Biosafety Standard Operating Procedure Annual Refresher in RSS App | Next Due: ________ |
|  | Biological Use Authorization Renewal through Institutional Biosafety Committee | Next Due: ________ |
|  | Biosafety Cabinet & Laminar Flow Hood Annual Certification | Aug each year |
|  | Annual BSL2 lab facilities inspection occurs during the general safety inspection |  |
|  | CITI Shipping Biological Materials Training Refresher (at least every 2 years) | Next Due: ________ |
|  | CITI NIH Recombinant DNA Training Refresher (at least every 4 years) | Next Due: ________ |
|  | CITI Shipping Biological Materials Training Refresher (at least every 2 years) | Next Due: ________ |
|  | Annual CITI or CSULearn Bloodborne Pathogen Training Refresher | Next Due: ________ |
|  | consider adding a note about seasonal pest management if applicable (such as kitchens, animal care, entomology, other biology labs) -- delete row if N/A |  |
| Animal Research | add compliance items as applicable -- delete row if N/A |  |
| Human Subjects Research | add compliance items as applicable -- delete row if N/A |  |
| Field Safety | SJSU Heat Illness Prevention Plan – update with relevant tasks or delete row if N/A |  |
|  | SJSU Defensive Driver Training – update with relevant tasks or delete row if N/A |  |
|  | SJSU Confined Space Entry Permit – update with relevant tasks or delete row if N/A |  |
|  | SJSU Fall Protection Program – update with relevant tasks or delete row if N/A |  |
|  | SJSU Wildfire Smoke Protection Program – update with relevant tasks or delete row if N/A |  |
|  | Remote Communication Device Maintenance – update with relevant tasks or delete row if N/A |  |
|  | Diving Safety Certifications and Training – update with relevant tasks or delete row if N/A |  |
|  | Boating Safety Certifications and Training – update with relevant tasks or delete row if N/A |  |
|  | SJSU Hot Work Permits – update with relevant tasks or delete row if N/A |  |
|  | Drone Permits – update with relevant tasks or delete row if N/A |  |
|  | Regulatory Agency Permits – update with relevant tasks or delete row if N/A |  |
|  | add compliance items as applicable -- delete row if N/A |  |